{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["抽查结果"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"抽查结果","index":0,"n_rows":26,"n_cols":7,"rows_kept":26,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["2025年第二季度双随机抽查结果"]
["序号","年度","季度","污染源名称","检查人","检查情况","具体问题"]
[1,"2025年","第二季度","稳健医疗(天门)有限公司","何健,黄雄文","未发现问题"]
[2,"2025年","第二季度","湖北中硕环保有限公司","陈琼,蒋超","未发现问题"]
[3,"2025年","第二季度","天门市群鑫报废汽车回收有限公司","贾启恒,彭登先","发现问题并整改","厂区南侧空地上堆放有部分废发动机，未放入发动机暂存间；污水处理站运行台账未完善"]
[4,"2025年","第二季度","湖北石河医药科技有限公司","陈斌,何文豪","未发现问题"]
[5,"2025年","第二季度","湖北金玉兰医药科技有限公司","熊威,周政","发现问题并整改","车间废气排口出现跑冒滴漏现象，残渣收集桶部分未加盖"]
[6,"2025年","第二季度","天门市怡天新能源开发有限公司","倪耿,卢丽敏","未发现问题"]
[7,"2025年","第二季度","湖北菲特沃尔科技有限公司","汪毅,郭泉伟","未发现问题"]
[8,"2025年","第二季度","湖北科田药业有限公司","肖依娜,肖波涛","未发现问题"]
[9,"2025年","第二季度","天门仙粮机械有限公司","韩小龙,孔荧晴","发现问题并整改","废气排放口数量与排污许可证不一致"]
[10,"2025年","第二季度","天门市天安建材有限公司","程静,刘慰慈","未发现问题"]
[11,"2025年","第二季度","湖北君扬科技有限公司","王利归,徐俊","未发现问题"]
[12,"2025年","第二季度","天门鑫泉铸造材料有限公司","邹芬芬,李明山","未发现问题"]
[13,"2025年","第二季度","湖北莎丽绿色建材科技有限公司","严必辉,毛任晓","已停产"]
[14,"2025年","第二季度","天门鑫福食品有限公司","黄玉婉,位文鹏","未发现问题"]
[15,"2025年","第二季度","上海延安药业（湖北）有限公司","关劲峰,王琦琼","未发现问题"]
[16,"2025年","第二季度","天门绿动能源有限公司","于斌泉,潘宜君","发现问题并整改","危废暂存间存放有未使用过的润滑油"]
[17,"2025年","第二季度","天门澳锦化工有限公司","任静,曹明帅","已停产"]
[18,"2025年","第二季度","天门市天源木业有限公司","伍森,熊鹰","发现问题并整改","烟气在线设备暂未验收"]
[19,"2025年","第二季度","天门市岳口潭湖污水处理有限公司","韩小龙,孔荧晴","未发现问题"]
[20,"2025年","第二季度","湖北省天门永强泵业有限公司","汪毅,郭泉伟","发现问题并整改","有部分物料桶露天堆放"]
[21,"2025年","第二季度","天门伊能环保科技有限公司","黄玉婉,位文鹏","发现问题并整改","有较重刺鼻气味，需定期对污染防治设施进行维护，及时更换活性炭"]
[22,"2025年","第二季度","芯创(天门)电子科技有限公司","彭登先,贾启恒","未发现问题"]
[23,"2025年","第二季度","大中（湖北）机械科技有限公司","刘慰慈,程静","未发现问题"]
[24,"2025年","第二季度","徐工湖北环保科技股份有限公司","黄雄文,何健","未发现问题"]